MINUTES OF THE August 10, 2009

FREELAND WATER & SEWER DISTRICT

COMMISSIONERS MEETING

Meeting Place

5495 South Harbor Avenue

Freeland, WA

In Attendance:

Commissioner – Nolen Knickerbocker


Commissioner –


Commissioner - Eric Hansen

Andy Campbell – Certified Operator

Sandy Duncan – Administrative Assistant

Gary Hess-Davido Consulting Group

Chet Ross-Freeland Chamber

CALL TO ORDER: Commissioner Knickerbocker called the meeting to order at 6:03 p.m. followed by the pledge of allegiance.  

PUBLIC COMMENT: None
REVIEW OF MINUTES:  Upon review.

ACTION:  Commissioner Hansen moved that the minutes of the July 13, 2009 meetings be approved as written.    Commissioner Knickerbocker seconded and the motion passed.

OLD BUSINESS: 
1. Water Rights.  Gary Hess reported that the Draft Report of Examination has been issued by the Department of Ecology (DOE) on Sunnyview Farm. Gary will ask Joel Purdy to review and comment on the 100gpm for 80 acre-feet.  There are a few recommendations that the District will need to add, such a sounding tube for monitoring the water level, recommendations are outline on the report.  Gary agreed to email the Commissioners the link to DOE’s web site to review the report. 
Ecology's next step will be issuing the final report after the 30 day comment period ends.

In regards to our other water right application, the District has seniority for Island County.  Consequently, other less senior applicants must fund our application review before theirs is processed.  Ecology estimates the cost reimbursement method to be around $10,000.  

Gary Hess was asked to write a one-page summary on the pros and cons of paying Ecology to process our water right application for discussion at the next meeting.

Upon discussion it was agreed to table discussion on this until the August 24th meeting.

2. Harbor Hills Consent Agreement.   Sandy reported that the District has not received any communication from Holmes Harbor Sewer District.   

3. Phase II Source & Storage improvement.   Andy reported that Well #3 is completed and everything is up and running.  Andy reviewed the road issue with Mitch Morley and Larry Brown Construction and it was agreed that we need to wait for the weather to change in order to do any work on the road.  Andy noted that the garage door would be painted in the next two weeks.  Andy was asked to contact Mr. Tussey and advise them on the roadwork. 

Andy talked to Jerry Beck and asked him to do an inspection of the site to verify electrical.  Andy estimated between $300-$400.

Change order #7 (installation of additional source meter at well #3) and Change order #8 (installing a phase monitor on submersible well pump in well #3) were reviewed.

ACTION:  A motion was made by Commissioner Hanson to approve Work order # 7 in the amount of $2,612.44, work order #8 in the amount of $1,639.01, and for Jerry Beck to inspect well #3 electrical in the amount not to exceed $400.00.  The motion was seconded by Commissioner Knickerbocker and passed

4. Rate Analysis.  Sandy reported that she has supplied Katy with all the documentation she requested and the she is working with Katy on clarifications of some items.  Andy suggested the new rate structure consider the future use of separate irrigation meters.  It was agreed that this is something we would discuss with Katy & Associates

5. Annexation Fletcher.  Upon discussion it was agreed to table this items to August 24th meeting so that Commissioner Maddox can be present.
6. Verification of titles of commissioners i.e. president/chairman.  Sandy reviewed RCW57.12 that specifies that a president and secretary will be elected annually.

7. Review Engineer’s/certified operator role for District.  This item was tabled to the next meeting in order to allow the commissioner time to review.

NEW BUSINESS:

1. Resolution 09-03 Amending District Rules.  Upon discussion it was agreed to schedule a public hearing for the September 14th meeting.

2. Liens & Lien Releases.  Sandy reviewed the liens on Johnson, Lui and Turgoose and the lien releases on Parrick and Toves.

ACTION:  A motion was made by Commissioner Hansen to approved filing of the liens and lien release with Island County.  The motion was seconded by Commissioner Knickerbocker and passed.

3. USDA Rural Development Grant Programs.  Sandy reviewed that a representative of USDA stopped in and noted that they have grant programs available, She forwarded the information to Chet and Gary. Mike Dolan and Chet will be meeting with them on August 14th.  She also noted that she just received information on 2 additional grant programs that she has forwarded to Gary and Chet, with a September 8, 2009 dead line for applications to the Urban Vitality Grant Program and the Small Communities in Rural Counties Grant Program.

OTHER REPORTS:

1. Maintenance report.  Andy reviewed his report. A copy is attached.

a. Andy noted that we are experiencing approximately 1-2 leaks at Harbor Hills monthly and that we need to consider a capital program for this area.  Sandy was asked to pull the information of the age of the water lines in Harbor Hills in order to prepare a capital replacement program in conjunction with the rate analysis.

b. Silverfin.  Andy noted that the water lines have been installed and are scheduled for pressure testing this week.  We are still awaiting data for Davido Consulting Group on the booster pump station and costs of operation of the booster pump.   Upon discussion the commissioner agreed to allow Kreig Construction to use the hydrants at Silverfin during completion of plat construction at Silverfin.

c. Andy recommended that the district purchase a hydrant meter.  Andy was asked to get additional information on costs for review.

2. Administrative report. Copies of Sandy’s reports are attached.

EXECUTIVE SESSION was called at 7:27 p.m. to discuss land acquisition for the sewer project.  Executive session was adjourned at 7:45 and the regular meeting was call back to order at 7:45 p.m.

1. The commissioners authorized Chet Ross to coordinate with the Gary Hess on the land acquisition and communications with the lenders.
VOUCHERS:  

Voucher Number 6912 to 6929 in the amount of $15,558.89 were approved and signed.  

ADJOURNMENT:

The meeting was recessed at 7:48 p.m. to Thursday August 27, 2009 at 5:45 to continue discussion of the annexation, land acquisition and District rules and regulations resolution.

Respectively Submitted

Sandra J. Duncan

Approved:

Commissioner:  Nolen A. Knickerbocker
Commissioner: Chuck Maddox

Commissioner:  Eric Hansen

3
4

